[image: image1.png]



BUILDING DIVISION – DPW





COUNTY OF HAWAI‘I – 101 Pauahi Street, Suite 7 – Hilo, Hawai‘i  96720


Hilo Office (808) 961-8331  (  Fax (808) 961-8410
Kona Office (808) 323-4720  (  Fax (808) 323-3509


Bulletin No: 
PV 2012-05
Date: 
March 12, 2013
Code/ Edition:
Hawai‘i County Code Chapter 9 and the 2008 National Electrical Code
(NEC)
Subject: 
Photovoltaic (PV) energy systems
From:
Neil Erickson, Plans Examining Manager, nerickson@co.hawaii.hi.us
Inspections for building and electrical may be requested in any order following installation of panels of the roof.
The following clarifications related to PV energy systems are provided:
A.
PV – ROOF MOUNTED
1. PLAN REVIEW AND APPROVALS
Per Norman Scheel Structural Engineer, Norman J. Scheel, PE, SE, and the certification, specifications and details dated June 1, 2012:  The SnapNrack PV Mounting System  is approved for use and may be installed on residential homes with gable roofs in Wind Zones B, and C, and Seismic Zones A, B, C, D and do not require a licensed Hawai‘i state architect or structural engineer’s review and approval (a professional stamp) when designed and installed per the manufacturer’s recommended installation span tables and guidelines.

A licensed Hawaii state architect or structural engineer must review and approve applications within ¼ mile of the ocean (Wind Exposure D), or Seismic Zone “E”.
Issued by:  David Yamamoto, Building Division Chief

� 





The County of Hawai‘i is an Equal Opportunity Employer and Provider  


